## Sheet1
Device | Company | Service Line | Therapeutic Areas | Physiological Parameter Outputs | Medical Grade Device | Age Groups Approval | IQVIA Qualification Process | IQVIA Readiness | Features | Important Links
GENEActiv | ActivInsights | Actigraphy / Vitals | Multiple,To evaluate sleep and activity,Neurology,Pain Management,Orthopedics | 3-Axis Accelerometer,Impact,Principle Frequency,Arm Elevation,Energy Expenditure,Most Active 6 Minutes,Acceleration Magnitude,Step Count,Step Cadence,Near-Body Temperature,Light,Sleep,Sedentary Time,Body Position,Walking,Exercising,Running Time,Sleep Onset Time,Sleep End Time,Rise Time,Midsleep Time,Sleep Onset Latency,Sleep Duration,In-Bed Duration,Sleep Efficiency,Longest Sleep Period,Sleep Interruption,Sleep Quality,Sleep Fragmentation Index,Event Count,Activity Intensity,Naps | Class I | 18+ | Qualified | Validated via integration | Acceleration Physical Activity intensity Sedentary vs movement activity Posture changes Sleep / wake time Sleep event characterisation Scratching Algorithm | https://activinsights.com/digital-health-technologies/professional-wearables/geneactiv/
ActivInsights Band | ActivInsights | Actigraphy / Vitals | To evaluate sleep and activity,Neurology,Pain Management,Orthopedics,Multiple | Event Marker Button,Posture,Sleep Onset Latency,Exercising,Chronotype,Body Position,Arm Elevation,Sleep Duration,Sleep Efficiency,Naps,Step Count,Step Cadence,Stride Intervals,Walking,Running Time,Sedentary Time,Activity Intensity,Tremor Intensity,Tremor Frequency,Fidgeting,Energy Expenditure,Scratching,Most Active 6 Minutes | Class II | 18+ | Qualified | Unvalidated | 100% waterproof Up to one year battery life Wireless data transfer Wrist-worn Neutral, low burden design Event marker button APIs available Instant data visualisations | https://activinsights.com/digital-health-technologies/professional-wearables/activinsights-band/
CentrePoint Insight Watch | Ametris | Actigraphy / Vitals | Multiple,To evaluate sleep and activity,Neurology,Pain Management,Orthopedics | Activity,3-Axis Accelerometer,Sleep,Total Movement,Moderate to Vigorous Physical Activity (MVPA),Non-Sedentary Time,Step Count,Energy Expenditure,Total Sleep Time,Sleep Efficiency,Wake After Sleep Onset,Sleep Onset Latency,Sleep Fragmentation Index,Gait Speed,Step Cadence,Distance,Spatiotemporal Gait,Fall Risk,Posture | Class II | 18+ | Qualified | Unvalidated | The ActiGraph CentrePoint Insight Watch is a small worn activity monitor designed for documenting physical movement associated with applications in physiological monitoring. The device is intended to monitor the activity associated with movement during sleep. The Insight watch can be used to analyze circadian rhythms and assess activity in any instance where quantifiable analysis of physical motion is desirable. | https://ametris.com/cpiw
LEAP | Ametris | Actigraphy / Vitals | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | Heart Rate,Heart Rate Variability,Skin Temperature,AFib/Cardiac Rhythm,Oxygen Saturation (SpO2),Respiratory Rate,Total Movement,Moderate to Vigorous Physical Activity (MVPA),Non-Sedentary Time,Step Count,Energy Expenditure,Total Sleep Time,Sleep Efficiency,Wake After Sleep Onset,Sleep Onset Latency,Sleep Fragmentation Index,Gait Speed,Step Cadence,Distance,Spatiotemporal Gait,Fall Risk,Posture,Bradykinesia Score,Active BKS,% Time Bradykinesia,Dyskinesia Score,% Time Tremor,Fluctuations,Nocturnal Scratch,Cough | Yes |  | Qualified | Validated via vendor platform | The Ametris ActiGraph LEAP is a multi-sensor wearable in a familiar smartwatch form factor. With multiple endpoints including activity, sleep, and mobility, it delivers continuous, high-resolution data validated for regulatory use. Utilizing an integrated PPG sensor data such as heart rate, SpO₂, and skin temperature are available to provide investigational insights. Designed for multi-subject deployments and longitudinal studies. | https://ametris.com/actigraph-leap
AX6 | Axivity | Actigraphy / Vitals | Multiple,To evaluate sleep and activity,Neurology,Pain Management,Orthopedics | Temperature,Light,6-Axis Inertial Movement Sensor (IMU) | Not a medical grade device |  | Qualified | Validated via integration | Activity Recognition Motion Measurement Medical Research Movement Science Clinical Research AX3 is a data logger. It features a state of the art MEMS 3-axis accelerometer and Flash based on-board memory. The device incorporates a real time quartz clock and temperature sensor. The device is ideal for collecting longitudinal movement data. | https://axivity.com/product/ax6
AX3 | Axivity | Actigraphy / Vitals | Multiple,To evaluate sleep and activity,Neurology,Pain Management,Orthopedics | 3-Axis Accelerometer,Temperature,Light | Not a medical grade device |  | Qualified | Validated via integration | Activity Recognition Motion Measurement Medical Research Movement Science Clinical Research AX3 is a data logger. It features a state of the art MEMS 3-axis accelerometer and Flash based on-board memory. The device incorporates a real time quartz clock and temperature sensor. The device is ideal for collecting longitudinal movement data. | https://axivity.com/product/ax3
BB-613 Chest Patch | Biobeat technologies | Actigraphy / Vitals | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | Blood Pressure,Heart Rate,Oxygen Saturation (SpO2),Stroke volume,Cardiac Output,Respiratory Rate,1L ECG,Heart Rate Variability,Systemic Vascular Resistence,Cardiac Index,Mean Arterial Pressure,Pulse Pressure,Sweat,Total Movement | Class II | Adults | Qualified | Unvalidated | The BB-613 WP is a wrist-worn or skin attached device indicated for use in measuring and displaying functional oxygen saturation of arterial hemoglobin (%SpO2) and pulse rate. The BB-613WP can also track changes in blood pressure based on Pulse Wave Transit Time (PWTT) which is obtained utilizing pulse measurements from the integrated SpO2 sensor, following a calibration process using oscillometric blood pressure monitor. The BB-613WP is intended for spot-checking of adult patients in hospitals, clinics, long-term care, and home use. | https://www.accessdata.fda.gov/cdrh_docs/pdf19/K190792.pdf
Somfit | Compumedics | Actigraphy / Vitals | Multiple | 1ch EEG,1ch EMG,2ch EOG,Oxygen Saturation (SpO2),Heart Rate,Peripheral Arterial Tone,Snoring,Activity | Class II | 21+ | Qualified | Validated via integration | Somfit is a wearable device that offers multi-night alternative to sleep lab studies. Somfit enables high-quality, multi-night, medical-grade physiological data collection from home. Each night’s data are reported individually, giving sites timely, actionable insights. Integrated into IQVIA eSource platform. | https://www.compumedics.com.au/en/products/somfit/
EmbracePlus | Empatica | Actigraphy / Vitals | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | Heart Rate,Heart Rate Variability,Respiratory Rate,Electodermal Activity, Skin Temperature,Oxygen Saturation (SpO2), Activity, Sleep,Automatic Arousal, Skin Conductance,Gyroscope,3-Axis Accelerometer | Class II | 18+ | Qualified | Validated via vendor platform | Equipped with a custom PPG, EDA sensor, peripheral thermometer, accelerometer and gyroscope, EmbracePlus has been designed to accurately and objectively observe patient physiology 24 hours a day: FDA-cleared Blood Oxygen Saturation (SpO2) Sleep Detection Electrodermal Activity (EDA): Skin Conductance Level (SCL) Temperature Research-grade Pulse Rate Variability Wearing Detection Pulse Rate Resipiratory Rate Actigraphy Measures | https://www.empatica.com/embraceplus/
EmbraceMini | Empatica | Actigraphy / Vitals | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | 3-Axis Accelerometer, Gyroscope, Magnetometer | Class II | 18+ | Qualified | Unvalidated | The Empatica EmbraceMini is a wearable with a bracelet style form factor, built for continuous actigraphy monitoring in clinical research. Collecting high-resolution actigraphy data using integrated biosensors. Data are transmitted via Bluetooth to the Care App, with retrospective access through the Empatica Cloud and Care Portal allowing near-real time data monitoring. | https://www.empatica.com/embracemini
InBody 970 | InBody | Actigraphy / Vitals | Obesity |  |  |  | Qualified | Unvalidated |  | https://inbodybwa.com/inbody970-2/
InBody 770 | InBody | Actigraphy / Vitals | Obesity |  | Yes | 18+ | Qualified | Unvalidated |  | https://inbodybwa.com/inbody770/
WatchPAT 300 | Itamar | Actigraphy / Vitals | Multiple,To evaluate sleep related breathing disorders in correlation with other associated vital parameters,Neurology,Obesity | Sleep | Class II | 12+ (PAHIc is 17+) | Qualified | Validated via vendor platform | WatchPAT 300 is an innovative diagnostic Home Sleep Apnea Test (HSAT) that utilizes the proprietary peripheral arterial tone signal (PAT) to detect sleep related breathing issues. WatchPAT measures up to 7 channels (PAT signal, heart rate, oximetry, actigraphy, body position, snoring and chest motion) via three points of contact. Within one-minute post study, the raw data is downloaded and auto-scored differentiating obstructive and central events, providing an AHI, RDI and ODI based upon True Sleep Time and Sleep Staging. Both the AHI and RDI derived from the WatchPAT were clinically validated with an 89% correlation to PSG1. The PAT signal is an approved measure in the 2017 AASM HSAT Clinical Practice Guidelines for Adults with OSA. | https://www.itamar-medical.com/professionals/watchpat-300/
WatchPAT ONE | Itamar | Actigraphy / Vitals | To evaluate sleep related breathing disorders in correlation with other associated vital parameters,Multiple,Neurology,Obesity | Sleep | Class II | 12+ (PAHIc is 17+) | Qualified | Validated via vendor platform | The WatchPAT ONE (WP1) device is a noninvasive home care device for use with patients suspected to have sleep related breathing disorders. The WP1 is a diagnostic aid for the detection of sleep related breathing disorders, sleep staging (Rapid Eye Movement (REM) Sleep, Light Sleep, Deep Sleep and Wake), snoring level and body position. The WP1 generates a peripheral arterial tonometry ("PAT") Respiratory Disturbance Index ("PRDI"), Apnea- Hypopnea index ("PAHI"), Central Apnea-Hypopnea index ("PAHIc"), PAT sleep staging identification (PSTAGES) and optional snoring level and body position discrete states from an external integrated snoring and body position sensor. The WP1's PSTAGES and snoring level and body position provide supplemental information to its PRDI/PAHI/PAHIc. The WP1's PSTAGES and snoring level and body position are not intended to be used as the sole or primary basis for diagnosing any sleep related breathing disorder, prescribing treatment, or determining whether additional diagnostic assessment is warranted. PAHIc is indicated for use in patients 17 years and older. All other parameters are indicated for 12 years and older. | https://www.itamar-medical.com/watchpat-one/
mBCA 554 | Seca | Actigraphy / Vitals | Obesity | Weight,Body Mass Index,Fat Mass Index,Skeletal Muscle Mass (SMM),Fat-Free Mass Index (FFMI),Total Body Water,Extracellular Water,Bioelectric Impedance Vector Analysis (BIVA),Visceral Adipose Tissue (VAT),Segmental Skeletal Muscle Mass | Class II | 5 years+ (weight); 18 years+ (BIA) | Qualified | Validated via integration | WiFi connectivity for real-time upload to CDDP Clinspark. 1-360 kg capacity. Height calibration required annually. | https://www.seca.com/en_us/products/all-products/product-details/seca554.html
seca Scale-up | Seca | Actigraphy / Vitals | Obesity | Weight,Height,Body Mass Index,Body Surface Area (BSA) | Class II | 1 year+ (weight); 18 years+ (BIA) | Qualified | Validation in progress | WiFi connectivity for real-time upload to CDDP Clinspark. 1-360 kg capacity. Height calibration required annually. | https://us.secashop.com/products/multifunctional-and-wheelchair-scales/seca-scale-up-line/ONSHMINTNN
Syde | Sysnav | Actigraphy / Vitals | To evaluate sleep and activity,Multiple,Neurology,Pain Management,Orthopedics | Stride Velocity 95th Centile (SV95C),Stride Length,Stride Velocity,Stance to Swing Coefficient,Climb Velocity,Descent Velocity,Height Climbed,Height Descended,Median Distance,Maximum Distance,Running,Falls,Vertical Amplitude,Fatigue,Move Duration | Class I | 4 y ears+ |  | Unvalidated | Ethernet connectivity with docking station or manual upload with USB (performed by manufacturer); 16 hour battery life; 335mm bracelet max length | https://healthcare.sysnav.com/syde-platform/
Body Pro 2 | Withings | Actigraphy / Vitals | Obesity | Weight,Body Mass Index,Body Composition,Electrochemical Skin Conductance,Body Fat,Muscle Mass,Water %,Bone Mass | Class I | 18 years+ | Qualified | Unvalidated; Integration in progress | Cellular connectivity; WiFi and Bluetooth available as backup with mobile app (PII required). | https://withingshealthsolutions.com/devices/body-pro-2/
Body Pro | Withings | Actigraphy / Vitals | Obesity | Weight,Body Mass Index | Class I | 18 years+ | Qualified | Validated via integration | Cellular connectivity; WiFi and Bluetooth available as backup with mobile app (PII required). | https://withingshealthsolutions.com/devices/body-pro-3/
mTABLET ABI | MESI | Blood Pressure Monitoring | Cardiovascular,Peripheral Arterial Disease | Ankle Brachial Pressure Index | Class II | 18+ | Qualified | Validated via manual data capture | The MESI mTABLET ABI is indicated for use on adult subjects at risk of having or developing peripheral arterial disease (PAD). MESI mTABLET ABI is intended for the rapid measurement of ankle-brachial pressure index (ABI) and pulse volume plethysmography in adults. It is suitable for use in wound care assessment, for assessing symptomatic PAD, and as a screening device for PAD. It may also be used on patients with venous or arterial ulcers prior to application of compression therapy. MESI mTABLET ABI can be used on patients with unilateral lower limb amputation. The MESI mTABLET ABI is intended to be used to spot-check patients. The MESI mTABLET ABI provides information regarding patient risk. The physician has the responsibility of making proper judgments based on this information. Prescription Use: Federal law restricts the use of this device to sale by or on the order of a physician. | https://www.mesimedical.com/measurements/ankle-brachial-index?d=abi
mTABLET TBI | MESI | Blood Pressure Monitoring | Cardiovascular,Peripheral Arterial Disease | Toe Brachial Index | Class II | 18+ | Qualified | Validated via manual data capture | The MESI mTABLET TBI is used for detecting PAD in patients where an Ankle-Brachial Index measurement alone is not sufficient due to non-compressible arteries. Quick and reliable TBI measurement with pulse waveform interpretation. Simple 1-step automated TBI measurement performed in 1 minute. AdaptiveLED™ PPG probe detects skin thickness for increased accuracy. Simultaneous measurements in arms and toes. Adaptive infrared LED PPG light detects toe skin temperature and thickness FirstWave™ algorithm for detecting the first returning pulse waveform in the toes. Comprehensive TBI report with pulse waveforms and oscillation graphs for the arms and PPG pulse waveforms for the toes. The MESI mTABLET TBI is not only an advanced Toe Brachial Index measuring device. By adding smart applications such as DBP (Dual Blood Pressure), you can effectively determine the interarm difference and uncover other potential cardiovascular risks, such as for coronary artery disease (CAD). Expand the use of your diagnostic system whenever you require new measurements! | https://www.mesimedical.com/measurements/toe-brachial-index
WatchBP Office 2G | Microlife | Blood Pressure Monitoring | Multiple (where blood pressure is primary / secondary endpoint) | Blood Pressure, Blood Pressure Average, Mean Arterial Pressure, Mean Arterial Pressure Average, Heart Rate, Heart Rate average | Class II | 3+ | Qualified | Validated via integration | The new, 2nd generation WatchBP Office device provides high accuracy in the evaluation of the blood pressure for both the general population and for all so-called “special patients”. In addition, healthcare professionals can measure patients with weak artery signals with the implemented “Manual Mode”. This feature allows optimal performance of conventional BP measurement by listening to Korotkoff sounds. However, If more comprehensive cardiovascular information is needed, the BP monitor offers the option to expand with more features, such as with the well-known and proven accurate Microlife AFIB technology for the detection of Atrial Fibrillation, or the non-invasive central blood pressure measurement option, to assess the BP value of the ascending aorta. Atrial Fibrillation (AF) detection* Non-invasive central blood pressure measurement* Display of Mean Arterial Pressure (MAP) and Pulse Pressure (PP) User-friendly software included Flexible BPM schedule to help physicians all over the world who are adhering to different measurement recommendations. Automated office blood pressure measurement (AOBPM) with implemented SPRINT algorithm Clinically validated for children aged 3+, pregnancy and pre-eclampsia, diabetes, renal disease and obesity | https://www.microlife.com/professional-products/watchbp-office/watchbp-office-2g
WatchBP Home A BT | Microlife | Blood Pressure Monitoring | Multiple (where blood pressure is / secondary or exploratory endpoint) | Blood Pressure, Blood Pressure Average, Mean Arterial Pressure, Mean Arterial Pressure Average, Heart Rate, Heart Rate average | Class II | 12+ | Qualified | Unvalidated | Programmable interval periods up to 5 minutes, 3 readings with auto-average. Integration w CDDP va mobile app with Bluetooth | https://www.microlife.com/professional-products/watchbp-home/watchbp-home-a-bt
Oscar 2 | Suntech | Blood Pressure Monitoring | Cardiovascular,To detect pressor effects of medicines for chronic use of treatment for more than 12 weeks | Ambulatory Blood Pressure,Heart Rate | Class II | 3 years+ | Qualified | Validated via integration | Can be programmed for up to 25 hours of recording. Different day and night time inflations can be configured Calibration required to be checked by IQVIA Logistics every 2 years. | https://www.suntechmed.com/bp-products/ambulatory-blood-pressure-monitoring/oscar-2-ambulatory-blood-pressure-monitor
Oscar 2 with SphygmoCor | Suntech | Blood Pressure Monitoring | Cardiovascular,To detect pressor effects of medicines for chronic use of treatment for more than 12 weeks | Ambulatory Blood Pressure,Heart Rate,Central Blood Pressure,Central Augmentation Index,Central Augmentation Pressure, Ambulatory Arterial Stiffness Index | Class II | 3 years+ | Qualified | Validated via integration | Can be programmed for up to 25 hours of recording. Different day and night time inflations can be configured Calibration required to be checked by IQVIA Logistics every 2 years. | https://www.suntechmed.com/bp-products/ambulatory-blood-pressure-monitoring/oscar-2-ambulatory-blood-pressure-monitor
Scarlet Red Vision Skin Patch | Scarletred | Dermatology | Dermatology, Other therapeutic areas requiring evaluation of skin lesions, or skin images like injection site reaction, etc. | Skin patch images | CE Class I | All Age Groups | Qualified | Yes using manufacturer system | Scarletred®Vision Skin Patch is automatically detected by the Scarletred®Vision App allows to normalizing taken skin images by color and size in a GCP compliant process. It is an online-enabled dermatological imaging platform for image data management and analysis, and the main component of the medical device. | https://www.scarletred.com/
KardiaMobile 6L | Alivecor | Electrocardiogram (ECG) | Cardiovascular | 6L ECG,1L ECG | Class II | Adults | Qualified | Validated via integration | Detects normal sinus rhythm, atrial Fibrillation Home use, no leads, compatible with IOS and Android with app | https://kardia.com/products/kardiamobile6l?srsltid=AfmBOooJ-1EKlrMK0GcqVynTziOJm-h7_AYCxVJuH6JV_9Bkwp0CGobU
R Scribe | Baxter | Electrocardiogram (ECG) | Multiple,Cardiovascular,To evaluate Cardiac Safety of drug or determine efficacy of medicine | 12L ECG | Class II | All Age Groups | Qualified | Validated via integration | The RScribe Electrocardiograph is a multiwchanneI electrocardiograph product used for acquiring, analyzing, displaying and printing resting ECG's. The RScribe is a 12-channel diagnostic electrocardiograph intended for recording and printing ECG's of adult and pediatric patients. The acquired ECG will be displayed for quality check purpose, analyzed using the Mortara VERITAS resting interpretation, optionally printed, stored and/or transmitted to a ECG Management System or Hospital Information System. The device is not intended to be used as a vital signs physiological monitor. It is a system comprised of a Mortara ECG amplifier (Wireless Acquisition Module [WAM] or AM12 Patient Cable) and an off-the-shelf personal computer with Mortara software application that allows clinicians to collect EGGs on patients during routine visits. The patient populations for which the device will be used may be healthy or diseased of any age. ECG's are taken with the patient in the supine position. The RScribe is intended to be used by a licensed health care practitioner in a hospital, medical clinic and offices of any size, including Clinical Research Organizations | https://www.hillrom.fr/en/products/rscribe-resting-ecg-system/ https://www.accessdata.fda.gov/cdrh_docs/pdf12/K120865.pdf
Eli series 150C | Baxter | Electrocardiogram (ECG) | Multiple,To evaluate Cardiac Safety of drug or determine efficacy of medicine,Cardiovascular | 12L ECG | Class II | All Age Groups | Qualified | Validated via integration | The ELI 150 is intended to be a high-performance, 12-lead, multifunctional electrocardiograph. As a resting electrocardiograph, ELI 150 simultaneously acquires data from 12 leads. Once the data is acquired, it can be reviewed and/or stored, and/or printed. It will be a device primarily intended for use in hospitals, but may be used in medical clinics and offices of any size. Indications for Use: *The device is indicated for use to acquire, analyze, display and print electrocardiograms. *The device is indicated for use to provide interpretation of the data for consideration by a physician. *The device is indicated for use in a clinical setting, by a physician or by trained personnel who are acting on the orders of a licensed physician. It is not intended as a sole means of diagnosis. *The interpretations of EGG offered by the device are only significant when used in conjunction with a physician over-read as well as consideration of all other relevant patient data. *The device is indicated for use on adult and pediatric populations. *The device is not intended to be used as a vital signs physiological monitor. | https://www.hillrom.com/en/products/eli-150c-electrocardiograph/
TouchECG | Cardioline | Electrocardiogram (ECG) | Multiple,To evaluate Cardiac Safety of drug or determine efficacy of medicine,Cardiovascular | 12L ECG | Class II | Adults | Qualified | Validated via integration | touchECG is designed to check and diagnose cardiac function. However, a physician must validate the results of the analysis run by the ECG. touchECG is intended for use in hospitals, clinics and outpatient departments of any size. It is suited for use by health professional in emergencies (ambulances). touchECG is intended to be used in conjunction with CARDIOLINE HD+ device. - The device analyzes, displays and prints out electrocardiograms. The ECG's are acquired from CARDIOLINE HD+ device. - The device interprets the data for review by a physician. - The device must be used by a physician or by health professionals on behalf of an authorized doctor in clinical facilities. It is not intended as the only means for determining the diagnosis. - The device's interpretation of the ECG analysis is only significant if used together with an additional analysis by the physician and by an assessment of all the patient's important data. - The device can be used on adults patients. - The device must not be used as a physiological monitoring of vital signs. | https://www.accessdata.fda.gov/cdrh_docs/pdf16/K160746.pdf
M12R | Global Instrumentation | Electrocardiogram (ECG) | Multiple,To evaluate Cardiac Safety of drug or determine efficacy of medicine,Cardiovascular | Holter,ECG | Class II | 16+ | Qualified | Validated via vendor platform | The M12 Matrix Holter System is intended to be used as a Holter ambulatory electrocardiograph system for the purpose of screening for ECG rhythm disturbances over periods up to 48-hours. The Matrix Holter System is intended for use under the supervision of a Physician or those knowledgeable in all aspects of ECG morphology, rhythm and arrhythmia. This procedure is commonly called a Holter procedure which captures ECG rhythm abnormalities which may be infrequent or provoked by activities outside of the physician office. The M12 Matrix Holter System is comprised of the Matrix Holter Recorder (MI2R) and the Matrix Holter System Application (Ml 2A). The Matrix Holter Recorder component of the system will be worn by the patient and is used to record ambulatory electrocardiograph data from the patient. The Matrix Holter System Application is used to analyze the data recorded by the Matrix Holter Recorder. Holter data is recorded on the local SD card and can be uploaded through the M12A Client application. Real time ECG Capture option available on site's computer Real time ECGs review along with continious Holter recording | https://www.globalinstrumentation.com/gimedical/Products/Clinical-Research-Cardiac-Safety/M12R-Holter-ECG-Recorder https://www.accessdata.fda.gov/cdrh_docs/pdf5/K051730.pdf
M5 | Global Instrumentation | Electrocardiogram (ECG) | Cardiovascular | 1L ECG | Class II | Adults and pediatric subgroups (weighing 10 kg +) | Qualified | Validated via vendor platform | The M5 Recorder is a small digital ambulatory ECG recorder intended for use by professionals to acquire ECG data from a patient in a clinical, point of care or at a patient setting. It is configurable from single Lead (Patch) as well as 2, 3, 4, & 5 Leads. It can record up to 500Hz. The M5 Recorder uses a rechargeable lithium polymer battery and can record ECG up to 21 days (3 channels) on the torso of a patient through a M5 Patch ECG electrode or M5 lead set and standard electrodes (length or recording time is based on the sample rate and channel selection). The patient’s ECG is recorded to the M5 Recorder and then transferred via the M5 USB cable to a PC-based ambulatory ECG analysis system (such as the Global Instrumentation M12A application) for review by physicians or other qualified personnel. | https://www.globalinstrumentation.com/gimedical/Products/Clinical-Research-Cardiac-Safety/M5-Recorder https://www.accessdata.fda.gov/cdrh_docs/pdf20/K202456.pdf
PCA 500 | QT Medical | Electrocardiogram (ECG) | Multiple,Cardiovascular,To evaluate Cardiac Safety of drug or determine efficacy of medicine | 12L ECG | Class II | 1 month+ | Qualified | Validated via vendor platform | Bluetooth connectivity to mobile app for near real-time upload. No auto interpretation of data by system Sampling rate: 1000Hz Shelf life: 6 months Service life: 5 years Battery life: 24 hours (16 hours continuous) Recording duration: 10 sec Data format: XML No calibration required. Patch sizing must be done at first visit to ensure good quality data collection. | https://www.accessdata.fda.gov/cdrh_docs/pdf18/K180157.pdf
VitalPatch | Vital Connect | Electrocardiogram (ECG) | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | 1L ECG,Heart Rate,Heart Rate Variability,Respiratory Rate,Skin Temperature,Body Temperature,Posture,Fall Detection,Arrhythmia Detection,R-R Interval,Activity | Class II | 18 years+ | Qualified | Validated via vendor platform | Bluetooth connectivity to VC-provisioned mobile app/tablet in real-time; 10 hour on-device data storage; 7-day battery life; Single use; | https://vitalconnect.com/cardiac-monitoring/#best-in-class
VV350 | VivaLNK INC | Electrocardiogram (ECG) | Multiple,To monitor continuous vital parameters in addition to activity and sleep data | 1L ECG,3-Axis Accelerometer,R-R Interval,Heart Rate,Heart Rate Variability,Respiratory Rate,Skin Temperature,Step Count,Posture | Class II | 18 years+ | Qualified | Validated via vendor platform | Bluetooth connectivity to VL mobile app in real-time or Holter mode; 14-day battery life; Rechargeable; 128 Hz ECG Heart Rate range: 40 to 300 bpm Respiratory rate range: 5 to 35 brpm | https://www.vivalink.com/wearable-ecg-monitor
Freestyle Libre 3 | Abbott | Glucose monitoring | Diabetes | Flash Glucose Monitoring (CGM),Current Glucose Value | Class II | 4 years and older | Qualified | Unvalidated | The FreeStyle Libre 3 Continuous Glucose Monitoring System is a real time continuous glucose monitoring (CGM) device with alarms capability indicated for the management of diabetes in persons age 2 and older. Sensor lasts for 14 days. It is intended to replace blood glucose testing for diabetes treatment decisions, unless otherwise indicated. The System also detects trends and tracks patterns and aids in the detection of episodes of hyperglycemia and hypoglycemia, facilitating both acute and long-term therapy adjustments. Interpretation of the System readings should be based on the glucose trends and several sequential readings over time. The System is also intended to autonomously communicate with digitally connected devices. The System can be used alone or in conjunction with these digitally connected devices where the user manually controls actions for therapy decisions. | K233537.pdf
Freestyle Libre 3 PLUS | Abbott | Glucose monitoring | Diabetes | Flash Glucose Monitoring (CGM),Current Glucose Value | Class II | 2 years and older (Updated) | Qualified | Unvalidated | The FreeStyle Libre 3 Continuous Glucose Monitoring System is a real time continuous glucose monitoring (CGM) device with alarms capability indicated for the management of diabetes in persons age 2 and older. Sensor lasts for 15 days. It is intended to replace blood glucose testing for diabetes treatment decisions, unless otherwise indicated. The System also detects trends and tracks patterns and aids in the detection of episodes of hyperglycemia and hypoglycemia, facilitating both acute and long-term therapy adjustments. Interpretation of the System readings should be based on the glucose trends and several sequential readings over time. The System is also intended to autonomously communicate with digitally connected devices. The System can be used alone or in conjunction with these digitally connected devices where the user manually controls actions for therapy decisions. | https://www.accessdata.fda.gov/cdrh_docs/pdf21/K212132.pdf
Dexcom G7 | Dexcom | Glucose monitoring | Diabetes | Continuous Glucose Monitoring (CGM) | Class II | 2+ | Qualified | Validated via integration | The Dexcom G7 Continuous Glucose Monitoring System (Dexcom G7 CGM System or G7) is a real time, continuous glucose monitoring device indicated for the management of diabetes in persons 2 years and older. The Dexcom G7 CGM System is intended to replace fingerstick BG testing for diabetes treatment decisions. Interpretation of the Dexcom G7 CGM System results should be based on the glucose trends and several sequential sensor readings over time. The Dexcom G7 CGM System also aids in the detection of episodes of hyperglycemia and hypoglycemia, facilitating both acute and long-term therapy adjustments. The Dexcom G7 CGM System is also intended to autonomously communicate with digitally connected devices, including automated insulin dosing (AID) systems. The Dexcom G7 CGM System can be used alone or in conjunction with these digitally connected medical devices for the purpose of managing diabetes. | https://provider.dexcom.com/g7-personal-cgm
Accu-Chek Guide Me | Roche | Glucose monitoring | Diabetes | Blood Glucose | Class II | 1 month+ | Qualified | Validated via integration | USB or Bluetooth connectivity for data upload; Bluetooth pairing performed with fixed PIN supporting one pairing at a time; Range: 20 – 600 mg/dL Shelf life: 24 month Memory: 720 results Single patient, multi use. | https://www.accu-chek.com/products/meters/guide-me
Accu-chek Instant | Roche | Glucose monitoring | Diabetes | Blood Glucose | Class II | 1 month+ | Qualified | Validated via integration | USB or Bluetooth connectivity for data upload; Bluetooth pairing performed with fixed PIN supporting one pairing at a time; Range: 20 – 600 mg/dL Shelf life: 24 month Memory: 720 results Single patient, multi use. | https://www.accu-chek.com/products/meters/instant
Accu-Chek Guide | Roche | Glucose monitoring | Diabetes | Blood Glucose | Class II | 1 month+ | Qualified | Validated via integration | USB or Bluetooth connectivity for data upload; Bluetooth pairing performed with variable PIN supporting up to 5 pairings at a time; Range: 20 – 600 mg/dL Shelf life: 24 month Memory: 720 results Single patient, multi use. Additional features from Guide Me include target range indication, pattern detection, meal indication, beeper/reminders, strip light and strip ejector, multiple BLE pairings. | https://www.accu-chek.com/products/meters/guide
Micro+ Pro Smokerlyzer | Bedfont | Respiratory Function | Respiratory | Exhaled Carbon Monoxide,Carboxyhaemoglobin % | Class II | Adults and Adolescents | Qualified | Validated | The Smokerlyzer range are all breath carbon monoxide (CO) devices to aid smoking cessation. The devices measure the amount of CO on a smoker’s breath. For professionals, it is a way to biochemically establish a person’s smoking status and for the smokers themselves, the Smokerlyzer is a motivational visual aid to encourage them to quit and to measure their progress whilst doing so. | https://www.bedfont.com/products/smokerlyzer/
NObreath | Bedfont | Respiratory Function | Respiratory | FeNO (Fractional Exhaled Nitric Oxide) | Class II Class III (Canada only) | 7+ | Qualified | Validated via third party software | The NObreath® is a FeNO device which can be used to measure airway inflammation for the management and diagnosis of asthma. Conformed to ATS, ERS & NICE guidelines, the NObreath® makes FeNO measuring quick, and easy plus it is completely non-invasive, with the ability to monitor airway inflammation in both adult and child patients. Furthermore, the ambient monitoring mode enables you to check ambient levels of NO. | https://www.nobreathfeno.com/us/
Cough Monitor | Hyfe | Respiratory Function | Respiratory | Cough Count | N/A | N/A | Qualified | Unvalidated | The Hyfe CoughMonitor Suite is an end-to-end system for continuous, objective cough monitoring in clinical trials With a lightweight watch, mobile app, and secure cloud dashboard, CMS delivers real-time cough frequency data without capturing audio. It is built for long-term, real-world use, offering reliable, scalable, and privacy-safe monitoring with virtually no burden on participants or researchers. | https://www.coughmonitor.com/
Spirobank II Smart | MIR | Respiratory Function | Respiratory,Obesity | FVC,FEV1/FVC%,DTPEF,FEV1,FEV 0.5,FEV0.5/FVC%,FEV0.75,FEV0.75/FVC%,FEV2,FEV2/FVC%,FEV3,FEV3/FVC%,FEV6,FEV1/FEV6%,Peak Expiratory Flow (PEF),FEF25,FEF50,FEF75,FEF25-75,FEF75-85%,FET,Extrapolated Volume (VEXT),ELA,EVOL,FIVC,FIV1,Peak Inspiratory Flow (PIF),FIV1/FIVC%,FIF25,FIF50,FIF75,Forced Expiratory Flow at 50% of FVC (FEF50, R50),Inspiratory Reserve Volume (IRV),Vital Capacity (VC),Inspiratory Vital Capacity (IVC),IC,ERV,FEV1/VC%,Tidal Volume (Vt),Ventilation (Ve),Respiratory Rate,Inspiratory Time (Ti),Tidal Exhalation (tE),Respiratory Duty Cycle (Ti/Ttot),Tidal Volume to Inspiratory Time (TV/tI),Maximal Voluntary Ventilation (MVV) | Class II | All age groups except infants and neonates | Qualified | Validated via third party software | MIR Spirobank smart II is a spirometer and pulse oximeter, designed to facilitate the total valuation of lung function. It is designed for use by specialist who require a simple, portable and compact device, yet at the same time being capable of calculating more than 30 spirometric parameters, and monitors the oxygen saturation and pulse rate. It also calculates several additional statistical parameters derived from the SpO2 and the pulse rate. Its connectivity capability (USB, Bluetooth, internal modem for acoustic coupling to telephone, RS232) makes it suitable also for telemedicine applications. The Spirobank smart II spirometer and pulse oximeter is intended to be used by a physician or by a patient under the instruction of a physician or paramedic. The device is intended to test lung function and can make: spirometry testing in people of all ages, excluding infants and neonates. Oximetry testing in people of all ages. It can be used in any setting | https://usa.spirometry.com/professional-spirometer/spirobank-ii-smart
Spirobank Smart | MIR | Respiratory Function | Respiratory,Obesity | Peak Expiratory Flow (PEF),FEV1,FVC,FEV1/FVC,FEF2575,FEV6,Extrapolated Volume (VEXT),DTPEF,FEF75,FET,FEF25,FEF50,FIVC,FIV1,Peak Inspiratory Flow (PIF),FEV3,FEV05,FEV075,FEV2 | Class II | All age groups except infants and neonates | Qualified | Validated via third party software | Spirobank G is a spirometer designed to facilitate the total valuation of lung function. It is designed for use by specialist who require a simple, portable and compact device, yet at the same time being capable of calculating more than 30 spirometric parameters. Its connectivity capability (USB, Bluetooth) makes it suitable also for telernedicine applications. The Spirobank G spirometer is intended to be used by a physician or by a patient under the instruction of a physician or paramedic. The device is intended to test lung function and can make spirometry testing in people of all ages, excluding infants and neonates. It can be used in any setting. | https://usa.spirometry.com/personal-spirometer/spirobank-smart
EasyOne Air | NDD | Respiratory Function | Respiratory,Neurology | FEV1,Peak Expiratory Flow (PEF),FVC,FEV1/FVC (FER) | Class II | 4 Years and older | Qualified | Unvalidated | The EasyOne Air spirometer is intended for prescription use only to conduct diagnostic spirometry testing of adults and pediatric patients over 4 years old. The EasyOne Air spirometer is used by general practitioners, specialists, and health care professionals, in hospitals and clinics, in pharmacies, and in clinical settings in occupational medicine Forced and Slow Spirometry, DLCO, Lung volumes, MBW, LCI | https://www.accessdata.fda.gov/cdrh_docs/pdf16/K161536.pdf
Easy on-PC | NDD | Respiratory Function | Respiratory,Neurology | FEV1,ATI,BEV,EOTV,FEF10,FEF25,FEF25-75,FEF25-75_6,FEF40,FEF50,FEF50/FVC,FEF50/VCmax,FEF60,FEF75,FEF75-85,FEF80,FET,FET25-75,FEV.25,FEV.5,FEV.5/FVC,FEV.75,FEV.75/FEV6,FEV.75/FVC,FEV.75/VCmax,FEV1/FVC6,FEV1/FEV6,FEV1/VC,FEV1/VCmax,FEV1Q,FEV3/FVC,FEV3/VCmax,FEV3,FEV6,MEF20,MEF25,MEF40,MEF50,MEF60,MEF75,MEF90,MMEF,MTC1,MTC2,MTC3,MTCR,PEFT,t0,VC,VCmax,CVI,E50/I50,ERV,FEV1/FIV1,FEV1/FIVC,FIF25,FIF 25-75,FIF50,FIF50/FEF50,FIF75,FIV.25,FIV.5,FVC,FEV1/FVC,Peak Expiratory Flow (PEF),FIV1,FIVC,MIF25,MIF50,MIF75,MMIF,PIF,VT,MVV,MVV6,MVVtime,IC,IRV,Rf,VCex,VCin | Class II | 4 years+ | Qualified | Validated via integration | USB connectivity to IQVIA laptop with downloaded EasyOne Connect software. Real-time graphs and incentives on screen for qualify feedback. Meets ATS/ERS 2019 Standards Sampling rate: 400Hz | https://nddmed.com/products/spirometers/easy-on-pc/
EasyOne Pro | NDD | Respiratory Function | Respiratory,Neurology | BHT, COHb, ColBarVol, CO Conc, HE Conc, O2 Conc, Anatomic Dead Space, System Dead Space, Discard Volume, DLadj, DLadj/VA, DLCO, DLCO/VA (KCO), ERV, FA CO, FA HE, FE CO, FEV1/FVC, FI CO, FI HE, FRC sb, FRC Cor, Hb, tI, Kroghs K, PaO2, RV sb, RV Cor, RV/TLC sb, RV/TLC Cor, TLC sb, TLC Cor, TLCO, VA sb, VA Cor, VCext, VCmax, Vd, VI, VT FEV1,ATI,BEV,EOTV,FEF10,FEF25,FEF25-75,FEF25-75_6,FEF40,FEF50,FEF50/FVC,FEF50/VCmax,FEF60,FEF75,FEF75-85,FEF80,FET,FET25-75,FEV.25,FEV.5,FEV.5/FVC,FEV.75,FEV.75/FEV6,FEV.75/FVC,FEV.75/VCmax,FEV1/FVC6,FEV1/FEV6,FEV1/VC,FEV1/VCmax,FEV1Q,FEV3/FVC,FEV3/VCmax,FEV3,FEV6,MEF20,MEF25,MEF40,MEF50,MEF60,MEF75,MEF90,MMEF,MTC1,MTC2,MTC3,MTCR,PEFT,t0,VC,VCmax,CVI,E50/I50,ERV,FEV1/FIV1,FEV1/FIVC,FIF25,FIF 25-75,FIF50,FIF50/FEF50,FIF75,FIV.25,FIV.5,FVC,FEV1/FVC,Peak Expiratory Flow (PEF),FIV1,FIVC,MIF25,MIF50,MIF75,MMIF,PIF,VT,MVV,MVV6,MVVtime,IC,IRV,Rf,VCex,VCin | Class II | 4 years+ | Qualified | Validated via integration | USB connectivity to IQVIA laptop with downloaded EasyOne Connect software. Real-time graphs and incentives on screen for qualify feedback. Meets ATS/ERS 2019 Standards. Gas to be supplied separately. | https://nddmed.com/products/complete-pulmonary-function-machine/easyone-pro/
RESP Biosensor | Strados | Respiratory Function | Respiratory,Obesity | Cough Count,Cough Type,Breath Sounds,Chest Excursions,Respiratory Rate | Class II | 18 years+ | Qualified | Unvalidated | Bluetooth connectivity to mobile app. 24 hour battery life. Data can be manually or algorithmically overread. | https://stradoslabs.com/respiratory-monitoring-device-resp-biosensor/
tremoflo C‑100 | Thorasys | Respiratory Function | Respiratory,Obesity | Inspiratory Resistance (Rinsp),Expiratory Resistance (Rexp),Total Reactance (Xtot),Inspiratory Reactance (Xinsp),Expiratory Reactance (Xexp),Difference between expiratory and inspiratory respiratory reactance (deltaXrs),R5-R19, R5-R20,Resonant Frequency (Fres),Tidal Volume (Vt),Inspiratory Time (Ti),Expiratory Time (Te),Respiratory Duty Cycle (Ti/Ttot),Respiratory Rate (RR),Mean Inspiratory Flow (Vt/Ti),Mean Expiratory Flow (Vt/Te),Ventilation (Ve),Total Resistance (Rtot) | Class II | 4 years+ | Qualified | Validated via third party software | Direct connection to Windows tablet or laptop. Daily calibration required. | https://www.thorasys.com/solutions/tremoflo-c-100